## Slide 1
from MQTT to Thingsboard MQTT ++client
These slides explain briefly how IoTTi gateway C++ client for Thingsboard works.
C++ client subsribes to listen IoTTi MQTT messages and when message (=measurement comes) comes, client send it to Thingsboard.
C++ code could compiled in all environments that support needed libraries:
Needed non standard C++ libraries
#include <jsoncpp/json/json.h>
#include <mosquittopp.h>
#include <curl/curl.h>

## Slide 2
Create 3 threads
MQTT message handling
timing for run indicator
Start threads
Main.cpp
from MQTT to IoT-ticket MQTT ++client

## Slide 3
mqtt_config.h
Configuration file to define incoming and outgoing mqtt settings.
#define in_topic incoming topic
#define in_host_addr mqtt broker ip address
#define in_port_number incoming port number
#define out_host_addr thingsboard ip address
#define user_name thingsbaard user name
#define pass_wd thingsboar password (NULL)
from MQTT to IoT-ticket MQTT ++client

## Slide 4
main.cpp
Class for received mqtt messages and class for published mqtt messages
Mqtt_in: handles incoming MQTT messaging
Mqtt_out: handles MQTT messaging sending to Thingsboard
from MQTT to IoT-ticket MQTT ++client

## Slide 5
receive MQTT message
convert message to TB syntax
send to Thingsboard by MQTT
from MQTT to Thingsboard MQTT ++client

## Slide 6
MQTT
mqtt_th: Thread that handles MQTT messaging
tmr_th: Timer thread that is timing run indicator
from MQTT to IoT-ticket MQTT ++client

## Slide 7
Incoming MQTT message handling
from MQTT to Thingsboard MQTT ++client

## Slide 8
  parse out from message S_name sensor name S_value sensor value
  create published mqtt message to Thingsboard
  call mqt_out.publish(….) / from class Mqtt_out
Check right topic Check right message prefix
call IoTTi(…)
on_message
from MQTT to IoT-ticket MQTT ++client
IoTTi()

## Slide 9
read MQTT message
convert message to TB syntax
send to Thingsboard by MQTT
from MQTT to Thingsboard MQTT ++client

## Slide 10
read MQTT message
convert incoming message to TB syntax
send to Thingsboard by MQTT
JSON tags:
S_path string
S_name string
S_value integer or float
S_unit string
S_data string
to TB message format:
{ “ temperature2 “ : 19.9 } “
from MQTT to Thingsboard MQTT ++client

## Slide 11
read MQTT message
convert message to TB syntax
send to Thingsboard by MQTT
from MQTT to Thingsboard MQTT ++client

## Slide 12
read MQTT message
convert message to TB syntax
send to Thingsboard by MQTT
from MQTT to Thingsboard MQTT ++client